## Slide 1
RKL
partial arc

## Slide 2: RKL partial arc introduction
RKL offers:
    Partial arc measurement around drums, shafts or arcs
    Requirement for simple mounting surface design
    Measurement for wide range of arc sizes
    Incremental or absolute arc measurement

## Slide 3: RKL scale - readhead compatibility
 | ABSOLUTE | INCREMENTAL |  |  |  | 
 | RKLA30-S | RKLC20-S | RKLC20-S | RKLC40-S | RKLF40-S | RKLF40-S
 | RESOLUTE™ | TONiC™ | VIONiC™ | QUANTiC™ | ATOM™ | ATOM DX™

## Slide 4: RKL – partial arc radius
 | Absolute | Incremental |  | 
Scale type | RKLA30-S | RKLC40-S | RKLC20-S | RKLF40-S
Compatible readhead | RESOLUTE™ | QUANTiC™ | VIONiC™ TONiC™ | ATOM™ ATOM DX™
Minimum arc radius (mm) | 50 | 26 | 30 | 26